## Hoja1
Year | Month | Type of water | Point | In situ measurements | [5 empty] | Analysis in specialized laboratory
|  |  |  | pH | Water temperature (°C) | Enviromental temperature (°C) | Conductivity (µS/cm) | Dissolved oxygen (mg/L) | Dissolved oxygen (%) | Chlorides (mg Cl-/L) | Phosphates (mg PO4-3/L) | Nitrates (mg NO3-/L) | Nitrites (mg NO2-/L) | Bromide (mgBr-) | Sulphates (mgSO4-2/L) | Fluorides (mg F-/L) | Turbidity | Total phosphorus (mg P/L) | Alkanity (mgCaCO3/L) | Sedimentable solids (mg/L) | Suspended solids (mg/L) | BOD (mg O2/L) | COD (mg O2/L)
2022 | August | Surface water | S1 | 8.0833 | 9.77 | 9 | 75 | 6.465 | 74 | 5.153 | 0.176 | 2.533 | 0.025 | 0.0195 | 1.297 | 0.036 | 2.5 | 0.05 | 25.42 | <0,1 | 10 | <2,00 | <20,00
|  | Surface water | S2 | 7.7 | 11.88 | 11 | 1004 | 3.59 | 43.1 | 22.448 | 4.2885 | 0.032 | - | 0.0175 | 8.366 | 0.0785 | 24.2 | 1.77 | 117.64 | 0.1 | 49 | 233.25 | 277
|  | Surface water | S3 | 7.54 | 13.35 | 11 | 443 | 2.3 | 28 | 30.183 | 20211.695 | 0.011 | - | 0.0185 | 14.3325 | 0.095 | 42.4 | 2.57 | 152.04 | 0.1 | 74.5 | 121.45 | 233.67
|  | Wastewater | R4 | 7.43 | 18.4167 | 18 | 1012 | 0.36667 | - | 53.667 | 14.2845 | 0.022 | 0.022 | 0.0385 | 38.6015 | 0.149 | 390.7615 | 4.59 | 274.17 | 0.5 | 138 | 258.5 | 515.33
| September | Surface water | S1 | 6.7267 | 10.0933 | 9 | 123.6667 | 3.0767 | 36.0667 | 18.8135 | 0.4685 | 2.674 | 0.0585 | 0.013 | 2.1355 | 0.043 | 14.7 | 0.05 | 28.41 | <0,1 | <10,0 | <2,00 | <20,00
|  | Surface water | S2 | 7.2633 | 13.31 | 12 | 489.3333 | 2.6167 | 32.4 | 18.2935 | 4.3755 | - | - | 0.018 | 15.0575 | 0.1565 | 48.8 | 2.12 | 149.05 | 0.1 | 63 | 91.58 | 167
|  | Surface water | S3 | 7.26 | 15.0833 | 15 | 547.6667 | 2.3433 | 29.9333 | 36.4635 | 5.072 | - | 0.011 | 0.018 | 22.0555 | 0.1285 | 66.7333 | 2.26 | 178.96 | 0.2 | 76 | 126.07 | 215.33
|  | Wastewater | R4 | 7.5782 | 17.5767 | 17.69 | 754.2333 | 3.2708 | 44.3872 | 53.4765 | 12.733 | 1.6165 | 0.046 | 0.016 | 34.21 | 1.142 | 254 | 5.48 | 263.7 | 0.5 | 118 | 325.02 | 483.67
| October | Surface water | S1 | 7.3778 | 12.6278 | 14 | 81.8889 | 6.8422 | 84.1333 | 4.2535 | 0.117 | 2.743 | 0.0665 | - | 1.681 | 0.061 | 2.875 | 0.053 | 23.93 | <0,1 | < 10 | < 2.00 | < 20.00
|  | Surface water | S2 | 7.2067 | 14.9911 | 14 | 344.3333 | 2.7433 | 35.0778 | 20.5125 | 2.7305 | 2.046 | 0.4455 | 0.032 | 11.7575 | 0.1305 | 18.3 | 1.01 | 118.14 | <0,1 | 35.5 | 68.78 | 140.33
|  | Surface water | S3 | 7.46 | 16.5411 | 16 | 512.5556 | 2.3867 | 31.0111 | 30.522 | 4.869 | 0.076 | - | 0.018 | 19.992 | 0.154 | 27.6 | 0.2 | 160.51 | 0.5 | 76 | 131.62 | 213.67
|  | Wastewater | R4 | 7.8967 | 17.1123 | 16.8462 | 610.0256 | 4.3931 | 58.6872 | 46.4525 | 9.074 | 0.055 | - | 0.03 | 34.317 | 1.3618 | 128 | 0.3 | 202.64 | 1.2 | 146.7 | 283.52 | 467
| November | Surface water | S1 | 7.2444 | 13.04 | 12 | 155.4444 | 5.2522 | 47.1333 | 7.2655 | 0.107 | 4.3155 | 0.085 | 0.015 | 1.838 | 0.082 | 3.0667 | 0.05 | 34.15 | <0,1 | <10 | < 20,00 | <100
|  | Surface water | S2 | 7.3278 | 15.3944 | 15.3333 | 354.5556 | 2.5644 | 30.7333 | 21.484 | 3.1585 | 0.0355 | 0.009 | 0.008 | 11.7465 | 0.1025 | 22.9333 | 0.306 | 117.15 | <0,1 | 25 | 41.44 | 127
|  | Surface water | S3 | 7.2833 | 16.75 | 16 | 510.6667 | 1.5956 | 21.1111 | 34.3595 | 4.9155 | 0 | - | 0.0215 | 20.441 | 0.1125 | 33.9 | 0.342 | 159.02 | <0,1 | 55 | 75.68 | 370.33
|  | Wastewater | R4 | 7.369 | 18.4708 | 17.8462 | 887.7949 | 2.9992 | 27.6795 | 62.6865 | 12.941 | 0.0635 | - | 0.0675 | 40.7385 | 0.245 | 139.6667 | 0.42 | 277.16 | 0.5 | 98 | 281.51 | 520.33
| December | Surface water | S1 | 7.7033 | 11.2633 | 14 | 93.7778 | 6.0489 | 72.6889 | 7.6285 | 0.265 | 3.9505 | 0.14 | - | 2.5585 | 0.1405 | 2.6367 | 0.05 | 31.65 | < 0.1 | < 10,0 | < 20.00 | < 20.00
|  | Surface water | S2 | 7.3767 | 13.0711 | 16 | 386.2222 | 2.4644 | 30.6778 | 21.866 | 3.425 | 2.828 | 0.5155 | 0.026 | 11.876 | 0.215 | 21.7333 | 1.36 | 124.62 | 0.1 | 68 | 50.47 | 260.33
|  | Surface water | S3 | 7.4056 | 14.7744 | 16.6667 | 513 | 1.8711 | 23.7889 | 33.2305 | 5.384 | 0.174 | 0.398 | 0.0265 | 20.17 | 0.1795 | 31.5667 | 2.09 | 171.98 | 0.1 | 53 | 163.68 | 270.33
|  | Wastewater | R4 | 7.5911 | 17.4747 | 17.4747 | 800.8056 | 1.9006 | 25.7917 | 61.4775 | 11.6285 | 0.0695 | - | 0.0095 | 37.2305 | 2.812 | 157.3333 | 4.01 | 262.7 | 0.5 | 143 | 603.67 | 61.3
2023 | February | Surface water | S1 | 7.3333 | 12.6756 | 11 | 82.1111 | 5.6344 | 70.0222 | 5.112 | 0.1365 | 3.599 | 0.032 | - | 2.189 | 0.0915 | 4.2633 | 0.11 | 26.48 | 0.1 | 13 | 7.12 | <20,00
|  | Surface water | S2 | 7.45 | 14.7467 | 14 | 295.5556 | 2.6222 | 33.5444 | 22.003 | 2.743 | 0.2775 | 0 | - | 11.2 | 0.176 | 22.0333 | 1.76 | 110.88 | 1.2 | 82.5 | 146.11 | 218.67
|  | Surface water | S3 | 7.4922 | 16.0322 | 16 | 457.4444 | 2.51 | 32.7667 | 33.381 | 2.1825 | 0.206 | 0.055 | - | 8.7425 | 0.2165 | 27.9333 | 2.82 | 161.37 | 1.2 | 80 | 280.84 | 333.67
|  | Wastewater | R4 | 7.5782 | 17.5756 | 17.6923 | 754.2308 | 3.2708 | 44.3872 | 53.2925 | 9.705 | 0.122 | 0.0895 | 0.146 | 30.8785 | 0.338 | 114.6667 | 3.81 | 209.14 | 0.3 | 130 | 180.99 | 353.67
| March | Surface water | S1 | 7.8922 | 11.7256 | 10 | 86.5556 | 5.9233 | 69.3889 | 6.4895 | 0.231 | 6.974 | 0.0525 | - | 2.5195 | 0.0635 | 4.6267 | 0.09 | 21.76 | 0.1 | <10 | <2,00 | 31.42
|  | Surface water | S2 | 7.9022 | 12.9233 | 14 | 198.6667 | 4.7789 | 58.0222 | 14.983 | 1.817 | 6.567 | 0.257 | - | 7.3775 | 1.3895 | 25.8333 | 1.02 | 125.43 | 0.1 | 43.5 | 28.03 | 152
|  | Surface water | S3 | 7.65 | 14.1256 | 14 | 310.8889 | 3.8833 | 47.9889 | 25.5255 | 3.34 | 5.2785 | 0.4475 | - | 14.591 | 0.2335 | 43.7 | 1.58 | 166.34 | 0.1 | 54 | 57.01 | 193.67
|  | Wastewater | R4 | 7.7046 | 17.17 | 17.0769 | 750.5385 | 2.7156 | 36.3154 | 81.826 | 11.8615 | 0.152 | 0.088 | 0.091 | 40.9755 | 0.4355 | 122.6667 | 5.13 | 0 | 0.3 | 73.25 | 256.91 | 430.33